|  |  |  |
| --- | --- | --- |
| **S.No** | **Name of Item** | **Quantity** |
|  | **LAPAROTOMY SET** |  |
| **01** | Allis’s | 04 |
| **02** | B.P Handle 3,4 | 02 |
| **03** | Bobcock | 04 |
| **04** | Dever’s Retractor | 06 |
| **05** | Disectin Forceps Tooth Medium | 04 |
| **06** | Disecting Forceps Tooth Small | 04 |
| **07** | Disecting Plain Forcep | 02 |
| **08** | Disecting Tooth Forcep | 02 |
| **09** | Dissecting Scissor | 02 |
| **10** | Forcep (Vascular) | 02 |
| **11** | Instrument Tray Medium | 04 |
| **12** | Instrument Tray Small | 04 |
| **13** | Instrument Tray | 01 |
| **14** | Intestinal Clamp Non-Crushing | 04 |
| **15** | Kidney N/L Non-Crushing | 16 |
| **16** | Kidney Tray Large | 02 |
| **17** | Langen Back Retractor | 04 |
| **18** | Long Curved Artery Forcep | 02 |
| **19** | Moris Retractor | 02 |
| **20** | Mospuito Artery Forcep | 06 |
| **21** | Nedle Holder (Small) | 02 |
| **22** | Needle Holder (Medium) | 02 |
| **23** | Needle Holder (Large) | 02 |
| **24** | Omni Tract (Omi Tract) (Retractors) | 02 |
| **25** | Potts Scissors | 01 |
| **26** | Pyodine Bowl | 02 |
| **27** | Right Angle | 02 |
| **28** | Self Retaining Retractor | 01 |
| **29** | Small Artery Forcep | 06 |
| **30** | Sponge Holder | 02 |
| **31** | Sponge Holding Forceps Medium | 04 |
| **32** | Sponge Holding Forceps Small | 04 |
| **33** | Suction Nozal | 01 |
| **34** | Suction Nozal Medium Curved | 04 |
| **35** | Suction Nozal Small Curved | 04 |
| **36** | Suture Cutting Scissor | 01 |
| **37** | Towel Clamp | 06 |
| **38** | Vascular Clamp | 03 |
| **39** | Bipolar Diathermy + Monopolar for TURP | 04 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Name of Item** | **Quantity** |
|  | **ADULT KIDNEY SET** |  |
| **01** | Allis’s (Medium) | 02 |
| **02** | Allis’s (Large) | 02 |
| **03** | B.P Handle Size 3 | 02 |
| **04** | B.P Handle Size 4 | 02 |
| **05** | Babock | 04 |
| **06** | Chest Spreader | 01 |
| **07** | Debagi Forcep (Debuky) | 02 |
| **08** | Devirs Retractor | 06 |
| **09** | Disecting Scissor Smal + Large | 02 |
| **10** | Disjardian | 03 |
| **11** | Dissecting Plan Forcep | 02 |
| **12** | Dissecting Tooth Forcep | 02 |
| **13** | Instrument Tray | 01 |
| **14** | Kidney Tray Large | 02 |
| **15** | Langen Back Retractor | 04 |
| **16** | Long Curved Artery Forcep | 02 |
| **17** | Moris Retractor | 02 |
| **18** | Mosquito Artery Forcep | 05 |
| **19** | Needle Holder | 02 |
| **20** | Part Scissor | 01 |
| **21** | Pyodine Bowl | 02 |
| **22** | Rib Resection Set | 01 |
| **23** | Right Angled | 02 |
| **24** | Self Retaining Retractor | 01 |
| **25** | Zerney Retractor | 02 |
| **26** | Sinus Retractor | 02 |
| **27** | Small Artery Forcep | 08 |
| **28** | Sponge Holder | 02 |
| **29** | Suction Nozal | 01 |
| **30** | Suture Cutting Scissor | 01 |
| **31** | Towel Clamps | 06 |
| **32** | Vascular Clamps (Salivsly) | 02 |
| **33** | Vascular Clamps (Straight) | 02 |
| **34** | Vascular Clamps (Curved) | 02 |
| **35** | Chest Approximeter | 01 |
| **36** | Lung Retractor | 02 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Name of Item** | **Quantity** |
|  | **URETHROPLASTY SET** |  |
| **01** | Allis’s Large | 02 |
| **02** | Allis’s Medium | 02 |
| **03** | Artery Forceps (Medium) | 06 |
| **04** | Artery Forceps (Mosquito) | 06 |
| **05** | Babcock Large + Small | 04 |
| **06** | Bladder Neck Spreader | 01 |
| **07** | Bone Cutter | 01 |
| **08** | Bone Nebler | 01 |
| **09** | Bowels for Pyodine | 02 |
| **10** | BP Handle Size 3,4 | 02 |
| **11** | Chessel | 01 |
| **12** | Babae key Forcep | 02 |
| **13** | Dissecting Forceps Plain | 02 |
| **14** | Dissecting Forceps Tooth | 02 |
| **15** | Hammer | 01 |
| **16** | Instrument Tray Large | 01 |
| **17** | Kidney Self Retaining Retractor | 01 |
| **18** | Kidney Tray Large | 02 |
| **19** | Langen Back Retractor | 02 |
| **20** | Millen’s Retractor | 01 |
| **21** | Mostoid Retractors | 01 |
| **22** | Needle Holder Small + Long | 02 |
| **23** | Perisostomy Elevator | 01 |
| **24** | Proctoscope | 01 |
| **25** | Rib Prsporties Rt. + Lt. | 02 |
| **26** | Sponge Holding Forceps | 01 |
| **27** | Suction Nozel Tip | 01 |
| **28** | Towel Clips | 06 |
| **29** | Turne Warwich Ring Retractor | 01 |
| **30** | Vaginal Speculum | 02 |
| **31** | Vascular Clamps Large + Small | 06 |
| **32** | Needle Holder Small | 01 |
| **33** | Needle Holder Medium | 01 |
| **34** | Needle Holder Large | 01 |
| **35** | Ring Retractor for Urethroplasty | 04 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Name of Item** | **Quantity** |
|  | **A.V FESTULLA SET** |  |
| **01** | Allis’s (Small) | 04 |
| **02** | Artery Forcep Medium | 04 |
| **03** | Artery Forcep Small | 04 |
| **04** | B.P Handle Size 3 | 02 |
| **05** | Bull Dog Clamps | 02 |
| **06** | Debaky Forcep | 02 |
| **07** | Disecting Plain Forcep | 02 |
| **08** | Disecting Scissor Str: Curved | 04 |
| **09** | Disecting Tooth Forcep | 01 |
| **10** | Instrument Tray | 01 |
| **11** | lris Scissor | 01 |
| **12** | Kidney Tray Small | 02 |
| **13** | Latos Paw | 02 |
| **14** | Microvascular Needle Holder | 02 |
| **15** | Needle Holder Small | 02 |
| **16** | Port Scissor | 01 |
| **17** | Pyodine Bowel | 02 |
| **18** | Scissors Curved Blunt Tipped | 01 |
| **19** | Scissors Straight Fine Tipped | 01 |
| **20** | Sponge Holder | 01 |
| **21** | Suture Cutting Scissor | 01 |
| **22** | Towel Clamps | 04 |
| **23** | Vascular Clamps S,L | 04 |
| **24** | Suture Cutting Scissors Medium | 02 |
| **25** | Watson Chyne (Small) | 02 |
| **26** | Watson Chyne (Medium) | 02 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Name of Item** | **Quantity** |
|  | **MINI OPEN SURGICAL SET** |  |
| **01** | Allis’s (Small) | 02 |
| **02** | Artery Forcep Small + Large | 04 |
| **03** | B.P Handle Size 3 | 02 |
| **04** | B.P Handle Size 4 | 02 |
| **05** | Babcok | 02 |
| **06** | Dissecting Plain Forcep Small + Medium | 02 |
| **07** | Dissecting Scissor Medium | 01 |
| **08** | Instrument Tray Small | 01 |
| **09** | Kidney Tray Large | 01 |
| **10** | Moris Retractor | 02 |
| **11** | Needle Holder Medium | 01 |
| **12** | Needle Holder Small | 01 |
| **13** | Pyodinr Bowel | 01 |
| **14** | Sponge Holder Forcep | 01 |
| **15** | Towel Clamp | 04 |
| **16** | Needle Holder Small | 02 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Name of Item** | **Quantity** |
|  | **KIDNEY SET (PEDIATRIC)** |  |
| **01** | Allis’s (Small) | 02 |
| **02** | B.P Handle size 3 | 02 |
| **03** | Babcock | 02 |
| **04** | Chest Spreader (Pediatrics) | 01 |
| **05** | Debaky Forcep (Vascular) | 02 |
| **06** | Disecting Plain Forcep | 02 |
| **07** | Disecting Scissor Small + Large | 02 |
| **08** | Disecting Tooth Forcep | 01 |
| **09** | Disjardian (Pediatrics) | 03 |
| **10** | Instrument Tray | 01 |
| **11** | Kidney Tray Large | 02 |
| **12** | Langen Back Retractor | 04 |
| **13** | Masquito Artery Forcep | 06 |
| **14** | Nedle Holder | 02 |
| **15** | Port’s Scissor Small | 01 |
| **16** | Port’s Scissor | 01 |
| **17** | Pyodine Bowel | 02 |
| **18** | Renal Sinus Retractor | 02 |
| **19** | Rib Rissection Set | 01 |
| **20** | Right Angle | 02 |
| **21** | Self Retaining Retractor | 01 |
| **22** | Small Artery Forceps | 06 |
| **23** | Sponge Holder | 01 |
| **24** | Suction Nozal | 01 |
| **25** | Suture Cutting Scissor | 02 |
| **26** | Towel Clamps | 06 |
| **27** | Vascular Clamps | 04 |
| **28** | Blood Warmer | 01 |
| **29** | Dever Retracters Small | 02 |
| **30** | Dever Retracters Medium | 02 |

**Note: Quality Items will be considered for selection. Without specification (Trade name, Manufacture) no item will be consider.**

**MANAGER PROCUREMENT & FMD**

**INSTITUTE OF KIDNEYDISEASES**

**PESHAWAR**